## Slide 1
Design of a Negative Oxygen Beamline Facility for Experimental Very Low Earth Orbit Simulation
Lasse Voigt, Martin Eberhart, Kim-Sophie Ellenberger, Olli Tarvainen, Roland Friedl, Ursel Fantz, Anand George, Fabian Hufgard, Marcel Pfeiffer, Stefanos Fasoulas, Stefan Loehle
High Enthalpy Flow Diagnostics Group (HEFDiG), Institute of Space Systems (IRS), University of Stuttgart
10th International Symposium on Negative Ions, Beams and Sources - NIBS‘26

## Slide 2: Low Earth Orbit (LEO)

## Slide 3: Very Low Earth Orbit (VLEO)
Low Earth Orbit (LEO)
Very Low Earth Orbit (VLEO)
200 km
450 km
2000 km

## Slide 4: VLEO
,
,
,
VLEO
,
[Crisp, N. H. et al., CEAS Space J., 14, 655–674, 2022, Fig. 1]
450 km
200 km
Neutral AO
Number Density ~108 1/cm3
Continuous Beam
Kinetic Energy
~5eV

## Slide 5: VLEO
450 km
200 km
Neutral AO
Number Density ~108 1/cm3
Continuous Beam
Kinetic Energy
~5eV
[NASA, NASA-HDBK-6024, 2014, Fig. 4]
VLEO

## Slide 6: VLEO-Condition
Kinetic Energy
~5eV
Neutral AO
Number Density ~108 1/cm3
Continuous Beam
Laser detonation (T. Minton, ESA)
O+ acceleration (VKI)
new concept required
Notes: Es gibt keine Anlage, die es kann. Ionen sind eine gute Möglichkeit, weil

## Slide 7: Beamline Concept

## Slide 8: Beamline Concept
,
,
RF Power | 750W
Beam energy | 15 keV
Gas | Oxygen
Gas Flow | 1.6 sccm
Beam current at Faraday Cup | 1.5 mA
ISV.RF-030
[Images and Data by D-Pace Inc.]

## Slide 9: Beamline Concept
,
,
A
z, mm
y, mm
z′, mrad
y′, mrad
[Images and Data by D-Pace Inc.]

## Slide 10: Beamline Concept
⌀203 mm
400 mm
x
y
z

## Slide 11: Beamline Concept

## Slide 12: Beamline Concept

## Slide 13: Beamline Concept

## Slide 14: Beamline Concept
x
y
z
x
O−-Beam
Laser
O-Beam

## Slide 15: Numerical Simulations
Velocity distribution within the desired range
Main challenge: achieving the required particle density
Laser
Notes: Hier hinzufügen, wo die neutralisation stattfindet

## Slide 16: We built it!
Notes: Hier fotos und danach direkter Übergang damit jetzt experimente

## Slide 17: Upcoming Experiments
Test campaign at D-Pace Inc. next week
Further testing of the ion source with oxygen
Testing of the deceleration unit with the RF multicusp ion source and dipole magnet
Main objective: Demonstrate the functionality of the assembly
Measurement of ion currents and beam profiles

## Slide 18: Summary
Detailed engineering design of the deceleration unit developed
Theoretical applicability of two commercially available laser systems investigated
Numerical simulations support the feasibility of the proposed beamline concept
Target particle velocity achievable → required particle density remains the main challenge due to beam divergence
Experimental testing of the deceleration unit at D-Pace planned for next week

## Slide 19
High Enthalpy Flow Diagnostics Group (HEFDiG)
Martin Eberhart Igor Hoerner Fabian Hufgard Dominik Kuenstler David Leiser Stefan Loehle Clemens Mueller Oliver Patek Nuno Pinto de Souza Benjamin Rusche David Steuer Lasse Voigt
Thank you!